## Table 1
PARAMETER
Total Phosphate
Total Coliform Fecal Colifonn COD
Conductivity
Color
Chloride Silica
Cadmium, copper, chromium, iron, lead, magnesium, manganese, nickel, zinc, hardness
(Ca+Mg)
Aluminum, Tin
Hexavalent Chromium
METHOD
Acid digestion using Technicon BD-40 Block Digester. Ascorbic acid reduction colorimetric method using Technicon Auto Analyzer II
Membrane filter technic Membrane filter technic Dichromate reflux
Wheatstone Bridge type meter. Yellow Springs Instrument conductivity bridge, Model 31
Visual comparison of sample with known concentrations of colored solutions
Argentometric (titration with silver nitrate)
Colorimetric analysis (silico­ molybdate reduction in acidic solution to "heteropoly blue" by aminonaphtholsulfonic acid) Technicon Auto Analyzer I
Atomic Absorption Spectrophoto­ metry. Air-acetylene flame.
Perkin-Elmer Model 403
Atomic Absorption Spectrophoto­ metry. Nitrous oxide-acetylene flame. Perkins-Elmer Model 403
Colorimetric using diphenyl­ carbazide. Klett-Summerson photoelectric colorimeter
64
REPORTED AS
mg/l P
Total coliforms/100 ml Fecal colifonns/100 ml mg/l COD
µmhos/cm
Color Units
mg/l Cl mg/l Si02
mg/l
mg/l
mg/l +6